## Unit2Raw
ME 335 Obstruction Flow Meters Lab
Date: | 2021-03-24 |  | Time: | 10:14 |  |  | Beta = | 0.709
[7 empty] | Density = | 997.8857
Section 6 | Group 2 | [5 empty] | Ap = | 0.001909
Group Members: | [6 empty] | Ao = | 0.000958
[7 empty] | Dynamic Visc. = | 0.0009647
[7 empty] | Kinematic Visc. = | 9.667e-07
3000 RPM
Sample Number | Delta Pressure (in. H2O) | Tap Location | Tap Pressure (in. H20) | Flow Rate (GPM) | avg pressure | avg flow
1 | 432.47 | S19G | 169.14 | 48 |  |  | Average Flow Rate = | 47.8649
2 | 432.76 | S19G | 168.74 | 48.07 |  |  | Average Flow rate (m3/s) = | 0.0030198
3 | 434.14 | S19G | 168.06 | 47.88 |  |  | Min Flow Rate = | 47.63
4 | 434.24 | S19G | 167.95 | 47.86 |  |  | Max Flow Rate = | 48.07
5 | 433.05 | S19G | 167.63 | 47.86 | 168.304 | 47.934 | Standard Dev. = | 0.093167
1 | 433.6 | S20G | 167.01 | 47.85 |  |  | Velocity = | 1.5819
2 | 435.28 | S20G | 168.52 | 47.94 |  |  | Reynolds = | 80669.447
3 | 431.29 | S20G | 168.55 | 47.79 |  |  | Co = | 0.616
4 | 432.95 | S20G | 169.44 | 47.91 |  |  | Delta P = | 9763.8106
5 | 431.88 | S20G | 169.23 | 47.98 | 168.55 | 47.894
1 | 431.98 | S21G | 168.29 | 47.85
2 | 433.14 | S21G | 169.62 | 47.93
3 | 432.7 | S21G | 168.7 | 47.84
4 | 433.76 | S21G | 169.05 | 47.92
5 | 431.98 | S21G | 169.64 | 47.85 | 169.06 | 47.878
1 | 433.67 | S5G | 168.3 | 47.8
2 | 431.62 | S5G | 170.19 | 47.81
3 | 432.54 | S5G | 169.01 | 47.91
4 | 430.94 | S5G | 168.24 | 47.9
5 | 432.76 | S5G | 167.93 | 47.89 | 168.734 | 47.862
1 | 431.53 | S6G | 147.84 | 47.84
2 | 430.82 | S6G | 132.66 | 48.03
3 | 431.7 | S6G | 132.61 | 47.8
4 | 431.22 | S6G | 132.37 | 47.88
5 | 433.01 | S6G | 132.77 | 47.87 | 135.65 | 47.884
1 | 430.58 | S22G | 142.41 | 47.93
2 | 430.49 | S22G | 147.2 | 48.06
3 | 432.91 | S22G | 146.19 | 48.06
4 | 432.65 | S22G | 145.93 | 47.76
5 | 433.64 | S22G | 147.34 | 47.79 | 145.814 | 47.92
1 | 431.62 | S23G | 147.22 | 47.84
2 | 431.48 | S23G | 147.84 | 47.88
3 | 434.3 | S23G | 148.42 | 47.78
4 | 430.47 | S23G | 148.23 | 47.82
5 | 431.37 | S23G | 148.41 | 47.77 | 148.024 | 47.818
1 | 432.35 | S24G | 149.75 | 47.63
2 | 432.19 | S24G | 147.62 | 47.79
3 | 430.64 | S24G | 149.37 | 47.8
4 | 432.83 | S24G | 147.27 | 47.79
5 | 432.14 | S24G | 148.78 | 47.87 | 148.558 | 47.776
1 | 430.42 | S25G | 149.11 | 47.92
2 | 431.92 | S25G | 149.33 | 47.77
3 | 434.28 | S25G | 146.92 | 47.68
4 | 432.31 | S25G | 148.64 | 47.79
5 | 431.79 | S25G | 148.76 | 47.93 | 148.552 | 47.818
2500 RPM
Sample Number | Delta Pressure (in. H2O) | Tap Location | Tap Pressure (in. H20) | Flow Rate (GPM)
1 | 298.46 | S19G | 116.09 | 39.78 |  |  | Average Flow Rate = | 39.7618
2 | 299.33 | S19G | 115.35 | 39.62 |  |  | Average Flow rate (m3/s) = | 0.0025086
3 | 298.69 | S19G | 116.99 | 39.77 |  |  | Min Flow Rate = | 39.52
4 | 298.22 | S19G | 115.92 | 39.83 |  |  | Max Flow Rate = | 39.96
5 | 298.31 | S19G | 115.8 | 39.93 | 116.03 | 39.786 | Standard Dev. = | 0.095114
1 | 299.23 | S20G | 115.32 | 39.8 |  |  | Velocity = | 1.3141
2 | 299.97 | S20G | 116 | 39.7 |  |  | Reynolds = | 67012.8084
3 | 299.03 | S20G | 116.71 | 39.78 |  |  | Co = | 0.619
4 | 299.58 | S20G | 116.23 | 39.84 |  |  | Delta P = | 6672.6285
5 | 301.24 | S20G | 117.04 | 39.74 | 116.26 | 39.772
1 | 298.61 | S21G | 116.2 | 39.8
2 | 300.86 | S21G | 116.95 | 39.9
3 | 300.06 | S21G | 115.47 | 39.8
4 | 298.43 | S21G | 117.43 | 39.89
5 | 300.5 | S21G | 117.21 | 39.93 | 116.652 | 39.864
1 | 300.01 | S5G | 116.16 | 39.65
2 | 300.62 | S5G | 116.03 | 39.79
3 | 299.75 | S5G | 115.48 | 39.8
4 | 299.67 | S5G | 116.6 | 39.73
5 | 300.22 | S5G | 117.25 | 39.74 | 116.304 | 39.742
1 | 300.24 | S6G | 103.53 | 39.75
2 | 298.32 | S6G | 92.58 | 39.82
3 | 299.5 | S6G | 91.05 | 39.77
4 | 300.63 | S6G | 91.41 | 39.7
5 | 299.45 | S6G | 91.3 | 39.75 | 93.974 | 39.758
1 | 298.3 | S22G | 90.48 | 39.75
2 | 299.25 | S22G | 95.56 | 39.73
3 | 299 | S22G | 98.89 | 39.7
4 | 300.12 | S22G | 101.36 | 39.72
5 | 297.56 | S22G | 99.27 | 39.81 | 97.112 | 39.742
1 | 297.45 | S23G | 102.7 | 39.96
2 | 299.39 | S23G | 100.68 | 39.88
3 | 299.73 | S23G | 100.24 | 39.58
4 | 297.43 | S23G | 102.31 | 39.76
5 | 298.49 | S23G | 103.05 | 39.79 | 101.796 | 39.794
1 | 298.66 | S24G | 103.43 | 39.86
2 | 298.72 | S24G | 102.47 | 39.75
3 | 300.73 | S24G | 101.33 | 39.53
4 | 299.41 | S24G | 101.8 | 39.77
5 | 298.06 | S24G | 101.75 | 39.8 | 102.156 | 39.742
1 | 300.19 | S25G | 103.52 | 39.67
2 | 300.48 | S25G | 101.72 | 39.52
3 | 301.01 | S25G | 103.27 | 39.67
4 | 299.79 | S25G | 102.04 | 39.71
5 | 299.64 | S25G | 102.05 | 39.71 | 102.52 | 39.656
2000 RPM
Sample Number | Delta Pressure (in. H2O) | Tap Location | Tap Pressure (in. H20) | Flow Rate (GPM)
1 | 193.42 | S19G | 73.46 | 31.64 |  |  | Average Flow Rate = | 31.7718
2 | 192.86 | S19G | 74.3 | 31.73 |  |  | Average Flow rate (m3/s) = | 0.0020045
3 | 192.14 | S19G | 73.94 | 31.73 |  |  | Min Flow Rate = | 31.61
4 | 191.81 | S19G | 74.92 | 31.85 |  |  | Max Flow Rate = | 31.92
5 | 192.74 | S19G | 74.67 | 31.75 | 74.258 | 31.74 | Standard Dev. = | 0.068732
1 | 191.4 | S20G | 74.56 | 31.84 |  |  | Velocity = | 1.05
2 | 191.99 | S20G | 74.74 | 31.71 |  |  | Reynolds = | 53546.8023
3 | 193.35 | S20G | 74 | 31.8 |  |  | Co = | 0.623
4 | 191.1 | S20G | 75.12 | 31.76 |  |  | Delta P = | 4205.8482
5 | 192.28 | S20G | 74.21 | 31.83 | 74.526 | 31.788
1 | 192.23 | S21G | 74.01 | 31.83
2 | 193.43 | S21G | 73.7 | 31.76
3 | 192.17 | S21G | 75.76 | 31.74
4 | 192.81 | S21G | 74.17 | 31.77
5 | 192.06 | S21G | 74.37 | 31.65 | 74.402 | 31.75
1 | 192.51 | S5G | 75.16 | 31.75
2 | 192.67 | S5G | 73.98 | 31.78
3 | 192.46 | S5G | 74.53 | 31.64
4 | 192.27 | S5G | 74.32 | 31.71
5 | 192 | S5G | 74.45 | 31.82 | 74.488 | 31.74
1 | 192.36 | S6G | 59.62 | 31.73
2 | 191.94 | S6G | 58.18 | 31.77
3 | 191.32 | S6G | 58.29 | 31.79
4 | 192.65 | S6G | 58.23 | 31.69
5 | 191.93 | S6G | 58.1 | 31.75 | 58.484 | 31.746
1 | 192.18 | S22G | 61.98 | 31.87
2 | 191.99 | S22G | 63.96 | 31.75
3 | 191.18 | S22G | 64.17 | 31.71
4 | 192.25 | S22G | 63.62 | 31.75
5 | 192.73 | S22G | 64.07 | 31.82 | 63.56 | 31.78
1 | 192.55 | S23G | 64.32 | 31.82
2 | 191.86 | S23G | 65.38 | 31.83
3 | 192.31 | S23G | 65.34 | 31.89
4 | 192.7 | S23G | 65.11 | 31.8
5 | 191.5 | S23G | 64.98 | 31.84 | 65.026 | 31.836
1 | 192.79 | S24G | 66.22 | 31.8
2 | 192.6 | S24G | 65.41 | 31.82
3 | 191.13 | S24G | 65.55 | 31.86
4 | 192.57 | S24G | 66.54 | 31.92
5 | 192.74 | S24G | 64.68 | 31.77 | 65.68 | 31.834
1 | 191.68 | S25G | 65.65 | 31.85
2 | 191.9 | S25G | 65.28 | 31.78
3 | 192.7 | S25G | 65.67 | 31.7
4 | 193.66 | S25G | 64.78 | 31.72
5 | 193.96 | S25G | 65.06 | 31.61 | 65.288 | 31.732
1500 RPM
Sample Number | Delta Pressure (in. H2O) | Tap Location | Tap Pressure (in. H20) | Flow Rate (GPM)
1 | 107.44 | S19G | 39.93 | 23.8 |  |  | Average Flow Rate = | 23.7584
2 | 108.14 | S19G | 41.37 | 23.76 |  |  | Average Flow rate (m3/s) = | 0.0014989
3 | 108.61 | S19G | 41.22 | 23.72 |  |  | Min Flow Rate = | 23.63
4 | 108.03 | S19G | 41.67 | 23.72 |  |  | Max Flow Rate = | 23.89
5 | 107.81 | S19G | 41.53 | 23.72 | 41.144 | 23.744 | Standard Dev. = | 0.059389
1 | 107.69 | S20G | 41.03 | 23.74 |  |  | Velocity = | 0.78519
2 | 108.28 | S20G | 41.5 | 23.63 |  |  | Reynolds = | 40041.4713
3 | 108.41 | S20G | 41.42 | 23.68 |  |  | Co = | 0.626
4 | 108.18 | S20G | 41.86 | 23.81 |  |  | Delta P = | 2329.346
5 | 107.37 | S20G | 41.43 | 23.76 | 41.448 | 23.724
1 | 108.43 | S21G | 41.48 | 23.71
2 | 108.41 | S21G | 41.82 | 23.76
3 | 107.94 | S21G | 41.65 | 23.74
4 | 107.88 | S21G | 42.06 | 23.84
5 | 108.55 | S21G | 41.92 | 23.89 | 41.786 | 23.788
1 | 107.79 | S5G | 41.54 | 23.82
2 | 108.23 | S5G | 41.38 | 23.73
3 | 107.98 | S5G | 41.66 | 23.7
4 | 107.83 | S5G | 41.61 | 23.75
5 | 107.42 | S5G | 41.74 | 23.72 | 41.586 | 23.744
1 | 108.41 | S6G | 33.61 | 23.79
2 | 106.85 | S6G | 33.34 | 23.87
3 | 108 | S6G | 32.69 | 23.84
4 | 108.42 | S6G | 33.29 | 23.74
5 | 108.55 | S6G | 32.61 | 23.8 | 33.108 | 23.808
1 | 107.22 | S22G | 36.11 | 23.79
2 | 108.32 | S22G | 35.87 | 23.78
3 | 108.16 | S22G | 35.76 | 23.67
4 | 107.72 | S22G | 36.28 | 23.69
5 | 107.63 | S22G | 36 | 23.82 | 36.004 | 23.75
1 | 107.43 | S23G | 36.87 | 23.74
2 | 106.93 | S23G | 36.69 | 23.83
3 | 107.44 | S23G | 37.24 | 23.82
4 | 107.75 | S23G | 36.77 | 23.69
5 | 107.8 | S23G | 36.34 | 23.73 | 36.782 | 23.762
1 | 108.67 | S24G | 36.98 | 23.72
2 | 107.91 | S24G | 36.98 | 23.69
3 | 107.51 | S24G | 36.9 | 23.8
4 | 108.57 | S24G | 36.63 | 23.76
5 | 108.14 | S24G | 36.82 | 23.78 | 36.862 | 23.75
1 | 108.33 | S25G | 36.76 | 23.63
2 | 107.66 | S25G | 36.9 | 23.8
3 | 107.5 | S25G | 36.78 | 23.83
4 | 108.08 | S25G | 36.23 | 23.74
5 | 108.12 | S25G | 36.5 | 23.78 | 36.634 | 23.756